Lot #11

Unit #2 – 11 Cheltenham Rd

Neptune 1

Occ.: Feb. 20/09

Close: June 23/09

Kevin Hitchin

Home 252-4003 –

Work: 705-252-4003

Cell: 705-321-5301

705-794-4086. Parent’s #. They will provide access.

April 6, 2009: Owner called to report leak in master bedroom ceiling. Jim check it out and believes it’s coming from the roof. W/O 2603 faxed to Dominion. Completed

June 5, 2009:  30 Day service scheduled for June 8/09.

June15/09:  Malcolm was here to do 30 day repairs.  PO33072 to Bayfield to remove glue stains on staircase.  PO33076 to Pollard to repair broken/bent track on patio door. Pollard window has made several attempts to do work to no avail as per Oct.23/09 report. See file

As for item 6/grill for furnace to be sealed/John from site says we need to maybe put door sweeps on furnace door but the grill is the way it is and we can’t fix it.

Malcolm needs to go back to do repair on bedroom ceiling/small water stain.

June25/09:  I setup for July 3/09 for Malcolm to go back and repair bedroom ceiling/needs to be scraped/mudded and sprayed.

July8/09:  Malcolm went here to finish ceiling repair in bedroom.

Aug13/09:  I called both owner and Pollard to confirm service for Aug26 ref 4484

August 26, 2009:  Pollard was at the unit to do service work and owner was not there. The door was left open but Pollard tech will not enter the premises unless the owner is present.. Teresa had previously informed Kevin of this when he voiced his plan to leave the door open. Teresa left a msg,. on his cell and also tried to contact parents. See file