Lot  5036

15 Cheltenham

Unit 2

Jupiter 2

Occ.: Feb 20, 2009

Natasha Bukowski

Home: 705-321-2496

Cell: 705-321-2496

Work: 705-722-7180

E-mail: natasha_bukowski@hotmail.com

March 2/09: owner called re front door sweep to be installed, laundry tub cracked and broken window. Home on Monday.

March 18, 2009: Owner reported that the deck is detaching from the wall. Greg will go and inspect tomorrow.

March 19, 2009: Greg inspected and a post has sunken into the ground. John will get  trade to repair.

April 9, 2009: Service scheduled with Allandale for April 18/09

May6/09:  John/site said to put a note here that homeowner would not give access to Pollard.

May 25, 2009: Allandale is scheduled to do service work today. Owner could not confirm with Allandale in return Allandele sent us a copy of the letter they sent owner.

Installer did get access the following day to replace end cap thus service is Completed

July 13, 2009: Owner called re storage unit. Teresa sent an e-mail to Brad

July17/09:  Greg was here to do 30 day list.  w/o 2957 to Canbarr to replace laundryroom tub/it’s cracked and to replace powderroom basin drain assembly. w/o 2958 to Royal Oak Railing to supply 2 brackets in pewter for railing as two of them are black.

July20/09:  put laundryroom tub replacement onto PO33015.