Lot 11

40 Thicketwood Avenue

Sparrow

Close Date:  Aug 14, 2008

Stephen & Jennifer Kennedy

HM 705-252-5612

WK 905-832-8576X7359

Cell 705-796-2008

Dec12/08:  homeowner wants someone to touch up stucco on ceiling at staircase so they can remove painters tape still on/Kim says we will have our guy do this/also w/o 2305 to Marnoch to wire up fireplace.  He says he will try for Monday as he’s in CC that day for another job.

Dec 15th/08:  Homeowner called to say his sump pump quit / basement had a lot of water in it as weepers were full * carpet and boxes got wet / Peter changed out the sump pump and took dehumidifier to homeowner

Dec18/08:  I spoke to Gord/Marnoch this morning/he is going to try and have someone here today to wireup fireplace.

Dec18/08:  I booked 30 day repairs for Jan7,8,9/09

Jan 8/09:  Work Order # 2499 JP Decorating – paint every semi-gloss surface on upper level, including filling nail holes and skylight has to be completed ** homeowner painted lower level herself – Kim l.m. for Lisa / WO# 2411 Marnoch Electric to wire up fan and thermostat for fireplace / WO# 2410 Innisfil Air – furnace keeps shutting down – no hear –had to be re-set twice in the last month

Feb. 17/09: Owner left msg that some items on the 30 day list have not been completed. Fireplace has not been connected to the thermostat. Teresa contacted Monarch Electric and it will be looked into and contact the owner. Also owner was asked to call service if Monarch has not contacted them within a few days.

March 4/09 Owner called in regards to the fireplace hookup. They are going away on March 31 and would like it done before then.