Lot 124

17 Michelle Drive

Robin

Close Date:  June 27, 2008

Call Kayla or Anne at Barrie Rentals 730-1000

Minnie Alissa (minnie1969@rogers.com)

HM 416-247-2051

WK 416-340-3405

Cell 416-825-9189

TENANT:  Ian MacIntosh cell 333-4120 / work 735-4595

July10/08:  Gord/Aya called said installation is done/he has plumber arranged to go in and rehook up/I sent PO29262 to Innisfil Air to re-vent out rangehood in kitchen and PO29261 to Marnoch to hookup rangehood fan.

July 15, 2008:  Barrie Rentals called about mould growing on baseboards and walls in basement / no AC ..no dehumidifier ..Greg checked this out and said it is typical of being a brand new house with a finished basement that has not dried out and has no air circulation downstairs (mould is in the corners of rooms and in closets)

July22/08:  Ann/Barrie Rentals called said she tried what Greg said cleaned up mould etc but it’s back/Don went here this afternoon to check this situation.

Kim called Anne at Barrie Rentals July 23 and again stressed that a dehumidifier needs to be installed in the basement as it is very humid and everything needs to dry out…

July24/08:  w/o 2108 to Accurate Glass to install mirror in basement bathroom

Nov11/08:  setup for 30 day repairs on Nov19, 20, 21 ½ day/08.  Kay-la from Barrie Rentals meeting us there between 9-9:30 with key for access.

Nov28/08:  Peter was here and completed 30 day repairs / except for basement windows (2) that homeowner listed are not what she paid for in her purchase agreement

Dec 17th/08:  Work Order # 2406 Marnoch Electric –please wire up thermostat to fireplace / downstairs basin needs caulking and furnace is leaking onto basement floor

Jan21/09:  I refaxed w/o 2406 to Marnoch to wireup fireplace as it’s still not done

Jan 22/09:  Kim talked to Karen at Innisfil Air re:  no fan at fireplace / Karen said that the stat, fireplace and fan were installed June 2/08 ** the fan is now missing

PO# Innisfil Air 31249 for fan for fireplace

Jan 29/09: Fan in basement fireplace was installed.