Lot 137

20 Fenchurch Manor

Seahawk – ENERGY STAR

Closed Sept 12/08

Patrick Labbe

Lillian Mei (Lil)

HM 705-735-2109

Sept 15th/08:  homeowner just moved in over the weekend and said during the rain storm (remnants of hurricane Ike) the basement leaked / no downspouts, fascia, soffits * being installed today / Kim called John at site trailer and he will tell Calvin to pour patio door sill /Don l.m. for Rick Dobinson where sill is buried and needs a window well installed

- noted on PDI that foundation wrap on NE corner is ripped / Work Order # 2199

Bayfield Carpet to replace left leg on fireplace (noted on PDI that it is chipped and uneven)

Sept 17th/08:  Work Order # 2251 Bayfield Carpet (Jenny) to install towel bars etc. / Jim discovered that the sump pump was not working so he wiggled it and it came on (weepers were full)

Sept25/08:  homeowner called said when grading was being done someone hit pipe to sump pump discharge and broke it/also neighbor noticed shingles may be missing on roof above ensuite.  Greg checked yes missing roof vent.  w/o 2055 to Robertson Roofing to install roof vent.  w/o 2056 to Bayfield to check tile in main washroom/homeowner says decorative tile not matching (it’s got white background and should be beige)??

Sept30/08:  homeowner called said someone caulked at sump discharge but the pipe was not replaced (was damaged by workers). Malcolm took info and is going to go here today to try and fix.

Oct14/08:  homeowner called said some outside windows are not caulked and that there is a large gap in the front door (at bottom right facing house).  I spoke to Duey and he’s going here today to caulk windows that are not done.

Oct16/08:  homeowner called said there is a leak at the water main in the basement.  I called Canbarr l/m there as well as on Art’s cell phone.  Got no call back.  Sent w/o 2067 to them for this issue.

Oct 20/08:  Work Order # 2281 Marnoch Electric – wire up fireplace and fan

Oct22/08:  Peter went here today and put weatherstrip at front door.  Malcolm also checked the outside faucet as homeowner says only 1” from ground/hard to put hose onto it/Malcolm says it is close but there is enough room.

Nov 4/08:  Lillian called again re: f/p to be wired up/I spoke to Jennin and she will be sure Gord is aware.

Nov7/08:  Malcolm went here today/no one there/homeowner says they need to move wire that comes into the box that powers pilot light in order to work fireplace.

Malcolm couldn’t fix.  w/o 2083 to Innisfil Air to setup with homeowner to go in and repair problem with fireplace

Nov 19th/08:  Work Order # 2300 Dave Alcombrack – as per Jim Speare – short railing needed at left side of ‘porch’ – over a meter to ground   Joan from trailer called Dave said he needed a PO to fix railing/Kim said yes  PO29483 sent to Joan’s trailer.

Jan8/09:  booked 30 day repairs for Feb9,10,11/09

Feb11/09:  Peter was here to do 30 day list.  Spring items left.

Feb18/09:  homeowner called said unfinished work here from 30 day list. Lorraine is following up

Feb18/09 Owner called ask if painter were still going to do the railings today. Lorraine called Zab and he will be there at 6:00 pm.

Feb. 24/09: Owner called to inform service that he is home today and tomorrow if we want to send a tech to resolve remaining issues.

March 12, 2009: Owner gave the okay to replace decorative tiles in main bathroom. Teresa spoke with him and explained the Tarion guidelines regarding tile repair. Bayfield will replace the entire decorative tile drywall repairs will be required.

April 3, 2009: P/O # 32889 to TNT Carpet Cleaning to spot clean living room carpet. Service is  scheduled for April 7/09

April 8, 2009: Patrick reported dark marks and grout on tub from tile install.

Apr9/09:  Sherri/Tarion called to say the conciliation for this house was cancelled late last nite.

June 15, 2009: W/O 2759 to Marnoch to repair exterior GFI. Also Duey will caulk back exterior lights. Completed

July 2/09:  Greg was here and fixed drainage pipe for sump pump.

October 14, 2009: Service scheduled for Nov. 19/09