Lot 29

9 Bartor Blvd

Pelican

Close Date:  Apr 30/08

Jason Nicolle

Lisa Cross

HM 705-726-0089

Cell 647-888-7004

Jason Cell 416-553-1158

Apr30/08:  homeowner called upset just closed/no cabinets was told they’d be installed a month ago.  Ron/Northern Design told me it would be next week before N.D. would be receiving them/so should be the following week installed.

Aug26/08:  booked 30 day repairs for Aug  28,29/08 / Purchase Order #27846 Pollard Windows to replace insul in great room and insul in stair landing (both operators) because glass is scratched

Aug29/08:  Malcolm was here to do 30 day list.

Sept8/08:  homeowner called said some items not done from 30 day list.  I called back got Jason who doesn’t know what’s not done, told him to let Lisa know I returned her call.

Dec2/08:  Lisa called wanted to know when we are finishing work here.  Needs the rangehood moved up.  I did sent PO 29491 to Marnoch and left a message on his v/m on this one.PO27846 to Pollard for items 11 & 12/scratches on windows.

Aug6/09:  Greg was here to do year end list.  PO33025 to Innisfil Air to install rangehood to exiting venting.  (There was a temp kitchen here).  Need to setup more time for Greg to finish drywall repairs.

Aug14/09:  setup for Greg to go back Sept 9/09 to finish drywall repairs.  He also will address the rangehood that needs to be moved up as there was a temp kitchen here before.

August 27, 2009: W/O Sent to Westwood to do service on Sep. 9/09