Lot 30

7 Bartor Blvd

Sparrow

Close Date:  Dec 5, 2008

Morris Pitawanakwat

Myra Kitchikeg

HM 705-719-2868

Cell 705-795-2868

Jan 5/09:  homeowner called said she had Enbridge there (little hot water) and they told her to call us they need plumber to change valve??w/o 2316 to Canbarr for this. Completed  She also said there is water in the basement/Don Darby going here this afternoon to check/she is missing shelving in the linen closet w/o 2318 to Keystone for this.

Jan 27/09: Owner called to report that after two showers they ran out of hot water. Someone from service went to change a valve after Enbridge was there but they still ran out of water after 2 showers. Teresa l/m with owner for her to call us back to discuss or to call Enbridge

Feb 11/09: Owner called to report shingles have flown off the roof.  PO32654 to Watons for 2 bundles of 2 tone brown shingles.  PO32654 to Jim Oakes Roofing to replace blown off shingles.

Feb 12/09: Myra called regarding the missing linen closet shelves. Teresa contacted Keystone and re faxed the work order sent on Feb. 5. Owner was asked to call service if Keystone has not contacted her within a couple of day.

Feb13/09:  Jim Oakes called said he’s here and there is a roof vent missing/open hole/I told him to go ahead and install vent and bill us for it.

April 22, 2009: Owner called to report that the garage door won’t open.

Apr29/09:  w/o2400 JP Decorating to do exterior painting. Owner called to say that singles are lifting and he can hear them flapping on windy days.

W/O faxed to Jim Oakes Roofing to inspect.

June 8/09:  w/o 2749 to Canbarr to install proper elbows and splash guard/ensure splash guard is aligned with discharge pipe

June 19, 2009 PO 33232 Dobinson to remove pipe from sump pump discharge/install extension and 45 deg elbow.  Ensure splash guard is aligned with discharge pipe.

August 24, 2009: Mayra called for an update on the missing shingles. Teresa contacted  Jim Oaks and he took her contact info and will arrange to replace.