Lot 87

21 Fenchurch Manor

Sparrow

Close Date:  Aug 1, 2008

Mubashar A Aziz

(H) 252-6793

Cell 416-716-6793

WK 705-795-9483

Aug20,2008:  Aya called to say they need PO to change countertop in vanity as it was the wrong one/turns out there was a reselect colour chart done 2 weeks before closing and Aya didn’t have it in time/as per Don I sent PO 29289 to change it.

Aug28/08:  w/o 2128 to Bayfield for ceramic fixtures.  PO29293 to Innisfil Air to supply and install entire trim kit for fireplace / Purchase Order # 29409 Vicourt Roofing to install roof vent where missing on lower roof (as per Vic at Vicourt –Robertson Roofing did the lower roof originally)

Aug 29/08:  Kim booked Peter and Jim for some repairs today / Jim on Monday

Sept2/08:  w/o 2135 to Canbarr to plumb sink in ensuite, w/o 2136. Completed to Accurate Glass to install mirror in ensuite (mirror on site)

Sept 12/08:  Jim is going to adjust door in main bathroom cabinet and is dropping off furnace manual

Sept22/08:  rec’d w/o2128 from Bayfield they have now installed ceramic fixtures/

Feb. 13/09: Owner called reporting a leak in the garage. Teresa called for access and he gave her other items that needed attention. Malcolm will go there today to caulk tubs and inspect the leak.

April 15, 2009: Owner wanted to know when someone is going to look at the garage (leak) and sump pump drainage. Teresa filled out work order for one of our service tech to check out as soon as possible.