Lot 93

33 Fenchurch Manor

Heron – ENERGY STAR

Close Date:  Jan 9, 2009

Ian & Susan Weatherall

HM 705-730-0679

WK 905-850-8131

Feb3/09:  homeowner called, they have leak in basement coming in at utility room (he thinks it’s the main water line).  I setup for us to go tomorrow as we have another appointment on Fenchurch.

Feb4/09:  Malcolm went here and it was the main water line needed tightening up.

Feb 11/09: Owner called to report shingles have flown off the roof.  PO32652 to Bart’s Roofing to repair/replace shingles.

Feb25/09:  PO32667 to Aya Kitchens to replace vanity and kick plates in powder room .as there was water damage to it.

March 11, 2009: Owner reported shingles blown of the roof. Teresa called Bart Roofing and they are looking into it.

March 16, 2009: Owner called to ask if debris from construction could be cleaned up around the house. Teresa left a msg. at site office.

March 30, 2009: Owner called again about curb and also to report leak in garage. Don is going there this morning to check it.  PO32885 to Canbarr to re & re sink as vanity is being changed up. Completed

May 13, 2009:  W/O to Canbarr to repair leak in hose bib pipe at basement

May 25, 2009: W/o to Marnoch to inspect and repair the wiring to thermostat as heat come on when A/C is turned on. Completed. Booked 30 day repairs for May 28/09

May29/09:  Greg was here to do 30 day list/he says everything done rest will be done at year end.

June 1, 2009:  Owner called to let us know that the grout job done in the bathroom was bad and the wrong colour should be re grouted.

June2/09:  I setup for Greg to back in June 5/09 to recaulk tub

July21/09:  rec’d back w/o 2766 from Innisfil Air/they said owner says a/c now working okay.

Aug18/09: owner called to say they noticed some shingles at back of house are lifting up.  It’s raining today so we will send someone the next nice day to look/can’t see from the ground it’s too high up. Scheduled for Sept 4/09