Lot 95

37 Fenchurch Manor

Starling

Close Date:  Nov 14/08

Eric Penney

Leah Golden

HM 647-505-9434

Cell 647-298-5324

Nov17/08: homeowner called has several issues, drywall work a mess needs touchups/Kim is going to speak to Don about going in maybe this Wed & Thurs or weather trades should/heating duct hanging down above HRV unit/wo 2087 to Innisfil for this.

Nov18/08:  Kim arranged for lockbox to put on so we can go in Nov19,20 /08 to do some drywall touchups as homeowner is moving in this weekend.

Nov 20/08:  Accurate Glass installed 3 more shelving units in linen closet in hallway @ top of stairs

Nov28/08:  Greg was in here and did some drywall repairs/his notes 99.9% done/will have to go back for minor trim/paint

Mar4/09:  booked 30 day repairs for Apr6,7,8,9/09

April 14, 2009: Peter worked on 30 day list. He still needs one more day to finish painting master bath and spring items.

Apr20/09:  Peter was here Friday/secured front steps/painted man door to garage and main bath painting finished.

May 20, 2009:  Eric reported shingle flown off roof at the peek.

June 16, 2009: Eric called again regarding the shingles. We need to find out who the roofer was. E-mail sent to Lisa for info. Teresa called Eric back to direct him to Shaun regarding the sod.

June 22, 2009: PO 33233 sent to Bart’s Roofing to replace shingles as Robinson is not longer on site.