Lot 129

2237 Sproule Street

Robin – ENERGY STAR

Close Date:  Dec 17, 2008

Gord Cook

Kate McGuigan

(H) 294-0730

Cell 416-844-1930				Energy Star Pkg. in file

Dec18/08:  Malcolm was here to caulk shower.

Dec19/08:  homeowner called said shower is still leaking/I called Malcolm and he is going to go here again today and check it.

Dec 29th/08:  shower still leaking (Kim put call into CanBarr – Art said he would check it out / shingles have blown off roof * Don to check and call put into Jim Oakes Roofing PO31231 (Jim Oakes)

Complaint that there is a draft at the front door

Jan5/09: homeowner wants to know when roof being repaired/told him tomorrow/also front door doesn’t seal and shower leaking again.  I arranged for Jan 8/09 to do door and shower.

Jan 8/09:  Kim l.m. for homeowner to let them know they will be getting a call from DSG Home Inspections to book a time for blower test / Kim faxed Sheri at DSG with homeowner information

Jan19/09:  w/o 2330 to Keystone to check/replace mirror as it is scratched.

Jan 28/09: owner called to report that the shower still leaks. This has been fixed but it still leaks. He will be home all week Booked for Monday Feb.2

Feb3/09:  Greg was here and again took a turn to seal the shower which was still leaking.

Feb13/09:  shower again leaking/Don went here today and again caulked it.

March 30, 2009: Owner is wanting the energy star home package (plaque etc.). Teresa sent an e-mail to Pat.

Apr17/09:  Alex is going here this afternoon to put basement window back in as it’s loose.

Apr27/09:  booked 30 day repairs for May 11,12,13,14/09

May 13, 2009:  W/O #2522 to D&S to replace 3 pull cords on basement lights and to install globe on basement landing. Completed.

May19/09: Malcolm was here last week doing 30 day repairs.  Needs 1 more day/I l/m today for homeowner to call to book time.  Malcolm still needs to sand before painter can go in/he needs to put access panel for tub.  I sent message to site to look after missing screen package

May 22, 2009:  Kate called regading missing screen. Teresa called site and there are not there. Pollard did deliver them back in Feb. Site to order new package.

May29/09:  PO33060 to Zab to do painting throughout. Completed.  We need to setup for Greg to go in and put tile at front of whirlpool tub where Malcolm cut hole.

June2/09:  I setup for June8/09 for Greg to repair tub/tiles to be put for whirlpool tub cut out.

June10/09:  Greg was here yesterday to do repair at whirlpool tub.