Lot #183

2189 Batters Loop

Tucan

Occ.: Feb. 25, 2009

Ewa & Henry Wojtunlk		Note: Cabinets supplied by Simcoe Kitchens

Home: 705-431-9032

Cell: 416-843-9080

Key in file

March 9, 2009: Owner reported that the fire place is not working electrician was there but could not hook it up. Also the ensuite requires caulking and medicine cabinet is to be installed.

March 13, 2009: Onwer reported not heat in house and that thermostat was working. Teresa called Innisfil Air. Owner called later and said that the heat was on. Teresa suggested that Innisfil check it anyway.

March 27, 2009:  W/O # 2692 to Bayfield to complete ensuite shower Completed.

April 16, 2009: Owner called re shower. Bayfield will look into it. D & S is to go and hook up shower light. Completed.

Apr27/09:  homeowner had sent email a few days ago about missing screens.  I had been trying to get answer from Joan as to where they are.  She said today they can’t locate them at all and so they are placing an order with Pollard and they will be going thru the lockup as this is once again in place.

May13/09:  Malcolm had went here to caulk ensuite shower.  I gave him 30 day list to try and do some items.  w/o 2580 to Bayfield to fix basement bathroom vinyl which has large bubble close to the wall.  I sent John/site message to have someone go in here and install missing medicine cabinet.  I put list into July’s bookings to book rest of work then.

May27/09:  received w/o 2580 from Bayfield that they have fixed vinyl in basement bathroom completed.

June3/09:  I called homeowner to followup about medicine cabinet.  They said someone was there but they didn’t like the cabinet so they didn’t want it installed.

June5/09:  w/o 2744 to JP Decorating for painting throughout/many areas missed and touchups at trim as well.

October 27, 2009: Work order faxed to Can-Barr to repair leak in basement bathtub tap.