Lot 2017

1431 Rankin Way

Dawn

Close Date:  Sept 12, 2008

Shelley Marple

HM 705-431-9884

WK 905-883-2041

Cell 416-805-4743

Oct1/08:  homeowner had cable people in/outlet is drywalled over she said guy tested and knows where it is/told her he can cut out drywall around it and service will go in and do repair

Oct30/08:  homeowner called re: when will we be booking 30 day repairs.   Explained very busy/any emergency we will get in other than that it may be closer to her deadline.  She was concerned that there are large gaps above front door and windows.  I paged Duey so he can check if this should be vinyl strips???  Also light socket on porch has no cover???

Oct31/08:  Duey checked he said although it should be Dominion he is going to go and put vinyl strips up around window and front door to cover insulation.

Jan7/09:  booked 30 day repairs for Feb 9,10,11/09

Feb10/09:  Greg is here doing 30 day repairs.  w/o 2352 to Innisfil Air to relocate furnace exhaust and hot water vent @ laundry tub area.  w/o 2353 to D&S Electric to install electrical plate in soffit at front entry.  PO31093 to TNT cleaning to clean carpet in front of basement door and upstairs on the risers.  Greg said to note that homeowner doesn’t want us to change door jam in archway between kitchen and livingroom.

October 14, 2009: Service scheduled for Oct.29/09