Lot2029

1463 Rankin Way

Sunrise

Close Date:  Dec 15, 2008

Edward Rocks

HM 705-294-0484

WK 905-265-4546

Cell 705-220-5086

E-mail: Edwardrocks@rogers.com

Jan5/09:  homeowner called wants his key back/it’s at trailer and Brandon will take to sales for them to pick up/he also has toilet running on/I booked us for Jan8/09 to check his toilet situation out/float stuck???

Jan8/09:  Malcolm was here and fixed toilet

Jan19/09:  homeowner called/leak at hot water line at T connection under sink/he shut water off/I called Canbarr and Art said he will go here in about 1 hr.

The homeowner also said they have no power to dishwasher.  I spoke to D&S they said it has to be connected at the panel the wire is there but has a merit on it/needs to be connected at breaker end.

Jan20/09:  homeowner called again about dishwasher/I did call back but house number has no v/m and cell # says not assigned.

Feb. 2/09: Owner called to report basement drain has mosquitoes coming up from the drain

Feb. 4/09: Owner called again to see when we can send someone to check drain: A service tech will be on site tomorrow from 9 -12.

Feb. 9/09: Owner called to report that sump on the outside is frozen and that dryer vent is dripping at the inside. Teresa asked owner to take a look on the outside to make sure that there is no lint blocking the vent.

March 3/09: Owner reported furnace shut off and has to be restarted/set at  panel> W/O

#2665faxed to Innisfil Air

April 27, 2009: Owner reported a leak in kitchen ceiling. Peter will look into it. Peter filled tub and let it drain and there was no leak. He believes that the toilet overflowed causing the water to go through the floor.

May 4, 2009:  Service scheduled for May 19, 20, 21/09. W/O # 2504 faxed to Zab to do painting throughout house on May 21/09. Completed

W/O # 2505 to Bayfield to install bathroom accessories. Completed

May21/09:  Peter was here to do 30 day list.  He said there are no doors on vanity.  I spoke to Serena/Aya she wasn’t aware but has now put them on order.  w/o 2706 to Canbarr to replace/fix kitchen tap as it is bowed out. Completed

May25/09:  Need to replace privacy handle on main bath and master bedroom.  I ordered handles today.