Lot 29

1469 Rankin Way

Seahawk – ENERGY STAR PACKAGE

Close Date: Aug 29, 2008

Stefania & Shawn Baxter

HM 705- 431-3679

or 416-985-7486

Sept 2/08:  Lorraine called Innisfil Air re: AC not installed / no screens installed / mirrors missing/ shelves and closet doors

Kim called Aislin about installation of mirrors etc. as per Aislin it is on the schedule for today.  w/o 2184 to Dominion to complete all soffit and fascia @ fireplace projection at rear of house.

Sept 4/08:  as per Don – “spring in backyard”/ pump in rear yard pumping water away /Don will make some compensation about paying portion of Hydro bill

Sept 8/08: homeowner called said the kitchen sink gasket underneath not attached right/water got under and damaged countertop/Don Darby is going by today to check this.  She also needs carpet kicked back at fireplace w/o 2143 to Bayfield for this.

Purchase Order #  29425 Bayfield Carpet – supply only --  10-15 floor tiles for main bathroom floor (CER) FINO 12 (NOCE) / remnant approx 3’x 3’ to match carpet in living room –if no match from remnant will need 3’ x 12’

Sept 11/08:  Peter kicking in carpet at fireplace

Sept11/08:  Pollard confirmed for screens to be installed here for Sept 29/08 in the morning.

Sept19/08:  PO29454 to Canbarr to have plumber available for Sept 22/08 @8:00am for Aya install.

Sept23/08:  homeowner called re: ceiling going downstairs not finished/fireplace not connected/w/o 2054 to D&S to wireup fireplace and drywall is only on the first landing area not all the way down.

Sept26/08:  Electrician says f/p not electrical problem/w/o 2259 to Innisfil Air (pilot light not on)

Oct 6/08:  homeowner called said still has problems with flies and that Innisfil

Greg was here week of Sept29/08 doing repairs from both list and 30 day form.

Oct 20th/08:  Homeowner called re:  are parts in for fireplace / Kim called John at Innisfil and he confirmed that parts are in and he will set up an appt. with homeowner / homeowner called back to say they had NO HEAT…Kim spoke to John at Innisfil Air and he is sending someone over today / Kim also faxed a hydro bill to Lisa with Don’s instructions to pay the entire bill (approx. ($90.00) this time re: pump in rear yard running off homeowners hydro

** Innisfil Air could not get access but left a card

Oct 21st/08:  Kim called homeowner with regards to furnace not working – Innisfil Air was in at 8:45 pm on Monday to replace the igniter switch

Oct 23/08:  homeowner l/m when is someone getting f/p going/I spoke to Mike who will leave note for John to make sure he calls homeowner in the morning

Oct 27th/08:  Purchase Order # 31123 to CanBarr – plumber needed for Wed Oct 29th approx. 9 am

Nov7/08:  PO29475 to Canbarr for plumber needed Nov12/08 @9:00 am/vanity to be changed.  I also setup for Nov12/08 for Don to check issue she has with draft coming in at fireplace area.

Nov13/08:  Don wasn’t in yesterday to check draft issue/he gave this to Greg this morning to go and check.  Homeowner also emailed list with outstanding PDI and 30 day issues for us to address.  Kim not in today/I put copy on her desk for review.

Nov17/08:  w/o 2088 to Bayfield Carpet to install carpet on basement stairs and landing.

Nov 18th/08:  Purchase Order # 31149 Canadian Whirlpool to repair knife cut in top of ensuite tub / Innisfil Air was in to balance the HRV system / faxed through results

Nov 24th/08:  Purchase Order # 31209 Accurate Glass to remove and center mirror over main bathroom vanity

Nov28/08: Bayfield called and said they have now completed w/o 2088.

Dec 3/08:  Work Order # 2477 Innisfil Air re:  draft at fireplace is excessive / Purchase Order # 31217 DNS Electric to move the pot light @ the left hand side of the house (near downspout) move 3” toward front of house

Dec 12/08:  Called homeowner – Jim is going to clean three microscopic spots of mould on back bedroom window sill/  caulk at floor and tub / Kim confirmed with homeowner and Lynne at Innisfil to confirm appointment for Dec 16th  between 12 pm and 3 pm for Don Darby and Steve

Mar4/09:  rec’d request for conciliation for April 17/09 work to be completed by Mar 25/09.  Need to review with Greg and setup time to go in here.  Note:  Innisfil Air installed new 14ser a/c unit today.

Mar5/09:  I spoke to homeowner setup for Mar11,12/09 to address concerns for conciliation.  I attached to the paperwork copy of the items we are addressing in the spring as well as a list that Don Darby did.

March 11, 2009: W/O #2671 faxed to Innisfil Air to replace thermostat for fireplace. PO faxed to D & S Electric to move pot lights at garage.

March 12, 2009: David from D & S Electric called to inform that the pot lights cannot be moved as there is no enough space to meet requirement. He also said that owners were informed of this.

Apr2/09:  w/o 2381 to Dominion Roofing to straighten soffit @ brick pillar to right of front door.  Has to be done before Apr17/09 as there is a conciliation. Completed

April 9, 2009: Bill Crawford will bang out the font door sill on Mon. Apr. 13 and re pour on Tue. Apr. 14.

Apr22/09:  a conciliation was booked for Apr17/09 @10:00am.  Greg went.  Conciliator has asked us to provide letter stating what we did at the fireplace is an acceptable fix.  I faxed to Lee Jamieson a letter we got from Innisfil Air. Owner called to let us know to go ahead and do the pot lights

Apr23/09 P/O 33203 to Dominion to replace soffit at front corner of house. Completed

Apr27/09:  rec’d back PO32681 from Dominion they have fixed uneven trim @ brick pillar @ front door.

May19/09:  John site has been in here doing work from the conciliation findings.  Fireplace mantel is now fixed and the mortar filled in around fireplace.  PO32697 to Zab to varnish mantle and do paint touchups around fireplace area.  After this all items are complete except sod,grade,etc.

June3/09:  called and spoke to homeowner to find out about claim inspection booked for June 22/09.  They are only waiting on something in writing to do with Innisfil Air and the insulation put on the outside fireplace vent (wants to know it’s okay).  They also have some tube on outside of house that they want removed or buried.  Grading is still pending.  John/site was here took copies of original letter/will look after new one and is going to check on the pipe that is outside.  He’ll let me know.  He also wanted me to send w/o to Innisfil to do touchup painting on exterior face of fireplace with black as it got paint splatters.  w/o2742 to Innisfil Air for this. Completed

June15/09:  owner called when are we doing O pipe.  I called John he says he will get here today for sure.  Also they wanted to know about painting of garage door. I called Zab and he says he will get there.

July 21, 2009: Shawn left msg. re paint on garage door is peeling and that he got a shock from the basement outlet. W/O 2798 to D&S

Aug11/09: owner called re: outlet in basement not yet looked at and stairs off of his deck.  D&S went here and found there is no problem with the outlet.  I sent an email to Karen Hansen today to ask about the stairs as this wasn’t in his agreement that I can see but he said Karen had promised a extension on his deck as well as stairs.

Aug26/09:  PO33038 to Brad Jonkman to install deck stairs-Completed as per letter from HO.  Sean called today wanting to know when stairs were being installed and painting of garage doors.  I spoke to Zab he says early next week for painting.  I relayed this to Sean and told him I’d call him back when he gets back to me as to when this will be done.

Sept3/09:  I spoke to Sean and painter has not yet called him/I called Zab he will have someone over here today at 10:00/I let owner know he left us garage code 1980 enter to go ahead if he’s not there.

October 14, 2009: Service scheduled for Oct.28/09 Energy Star pkg. will be delivered