Lot 34

1525 Rankin Way

Osprey

Close Date:  Aug 28, 2008

Shawn Stokes

Dawn Stokes

HM: 436-6832

Cell 705-796-6404

Sept 2/08:  Sean called said a/c not functioning proper/not getting enough cold air/told him to call Innisfil Air.

Oct 16th/08: Jim made notes and was in for repairs / Work Order # 2268 CanBarr Mechanical – hot and cold reversed @ main bathroom , Jacuzzi faucet loose, ensuite shower door not secure (flopping) / no chrome ring on water line below laundry tub /Completed

AYA Kitchens WO# 2269 missing laundry cabinet, move upper cabinet from laundry room to install over desk in kitchen , replace hinge on cabinet door to left of sink, desk drawer hitting countertop / Robinson Adams WO# 2270 – garage door crooked / shifted off to right / pull rope needed for third garage door missing /Mega Drywall WO # 2271 vaulted ceiling not bordered as per agreement in bedroom # 2 and living room  /DNS Electric WO#2272 change 2 pull chains in basement / wire-up Jacuzzi/ ? locate wire for thermostat for fireplace / WO# 2273 Innisfil Air to install thermostat for fireplace / WO# 2274 JP Decorating to touch up stain and urethane staircase and fireplace / sand stair treads * rough / WO#2275 Bayfield Carpet supply and install carpet runner on stairs

Oct30/08:  rec’d back w/o 2275 from Bayfield/carpet runner now installed.

Jan. 23/09: Owner left msg. that someone would be available to provide access in the afternoon. Teresa left msg. to let him know that Malcolm was scheduled in other unit and wouldn’t be able to go there.

Jan23/09: Service scheduled for Feb. 2 and Feb 9/09 to finish list here.

July 15, 2009:  Teresa spoke to Doug which told her about the bad tile job done at time of service and that the grout was not completed. John is looking into it and will get Bayfield to do work

July27/09:  w/o 2967 to Bayfield to replace 12 tiles throughout main floor (loose) There are also 3 tiles service did that were not grouted that have cement on them that may need to be changed too.  There are hollow spots all over the place and grout coming out that needs fixed.  This was sent over via email from John D’Angelo  Completed

September 30, 2009: Year-end service scheduled for Nov. 17/09