Lot 78

1410 Benson Street

Canary

Close Date:  Dec 18, 2008

Merline Shirley

Cell 416-459-9760

Dec30/08:  Don was here to check on basement window issue (windows apparently not installed) one window is missing and other one needed to be put back in.  He also had me send w/o 2312 to Vic/Vicourt as there are 4 bundles of shingles left on roof.  W/o2312 cancelled/I called and l/m for Vic should be Dominion see w/o 2313.

Jan7/09:  homeowner called wanting to know about shelving for his closets (he has none)he gave me new contact name and number (Mr & Mrs. Winter @436-2551) I called to Keystone and relayed the new info and asked that they call asap to set something up.

Jan15/09:  w/o2327 to Aya Kitchens to replace shelf by fridge (it’s broken)

Jan22/09: Owner called regarding door lock repair that was scheduled for today.

Jan 26/ 09: Owner called regarding door lock.

Feb5/09:  Casey was here yesterday and cleaned out the basement/full of mud.  He gave key to John and Don will pick up from him

Feb9/09: rec’d back 2/09  from Dominion they installed vent cover @front soffit for bathroom

Feb23/09: Owner called to report that grout in bathroom is coming off tiles. Alex will go in tomorrow.

Feb 24/09: Owner called again to report that grout in bathroom is coming off tiles. Alex will go in.

May 20, 2009: Owner called in regards to the lower deck and the gaps in garage door> Teresa informed him that deck will be built once grading is completed and that the gaps in garage door are not warrantable but to listed on his year end and we will inspected. The door is operational.

December 14, 2009: Year-end service done today.