Lot 149

1258 Lowrie Street

Seahawk – ENERGY STAR PACKAGE

Close Date:  July23/08

Anthony Ghanem Cell 416-835-0346

(H) 812-1012

Aug 8/08: homeowner called/missing window cranks/no screens/mantle not clear-coated, drywall to be repaired around mantle.

Aug 13/08:  Homeowner will leave key in GFI for Innisfil Air for Thursday Aug 14th re: registered letter from Enbridge that fireplace did not pass inspection

Aug 14th/08:  John from Innisfil called and said that they could not do the repair as there was not enough clearance s.b. 18” but only had 4” for the pipe at the ‘shed roof’ / Don looked at and had Malcolm tear out at soffit / Rick arranging for a bricklayer / Robin set up re-inspection with Enbridge Gas for Monday Aug 18th/08.

Aug21/08:  PO29331 to Dominion to install soffit & fascia @ chimney projection (we had to tear out part of chimney)

Oct14/08:  booked 30 day repairs for Nov3, 4, 5 1/2day/08

Nov7/08:  McKick finally completed brickwork at fireplace projection.  I refaxed PO29331 to Dominion to now have soffit & fascia completed.

Nov 17th/08:  Jim noted that the soffit and fascia is completed at the fireplace projection

Nov18/08:  Peter was here and completed 30day repairs.  w/o 2093 to JP Decorating to clearcoat fireplace.  w/o 2094 to Bayfield to install carpet on basement stairs.

Nov24/08:  homeowner called said he has not been contacted for fireplace or carpet issue.

Jan5/09:  homeowner called said they have hardly any heat to upstairs.  As per Kim I sent w/o 2320 to Innisfil Air to balance system.

Feb19/09:  rec’d back w/o from Innisfil that they have now balanced the furnace here.

July23/09:  owner called said they have a leak in the bathroom at the toilet.  Peter went and cut whole in ceiling and there is a pipe that is leaking.  Art/Canbarr says they will go here tomorrow can’t today they have no one available.  w/o 2961 to Canbarr/owner will be available.