Lot 72

1319 Corm Street

Robin

Close Date:  May27/08

Irena Siedlelka

HM 705-431-7170

Cell 647-219-5516

Franz 416-543-4589

June 4/08:  Greg was here and completed work from the PDI.  There are 3 kitchen items remaining.

June 10/08: homeowner called said there is water showing up on ceiling in kitchen.  Jim is going here today June 11/08 to check on this.

July21/08:  homeowner l/m on weekend/leak in basement he says he spoke to someone last week and that Richard/plumber said he’d be by to fix it????? The homeowner did not call here at all last week/not sure how plumber was arranged but when I called back they told me plumber did show up and problem has been fixed.

Sept30/08:  homeowner l/m heat not working and sump pump not working.  I called back no one at the house but will be home tomorrow/told her to call Innisfil Air about heat and we will go in tomorrow and fix sump pump.

Oct1/08:  Jim went here to address sump pump issue.

Jan14/09:  homeowner called wanted us to check his tub as it is flexing at the drain.  We setup for Don to look at this on Fri.Jan16/09 9-11:00am

Jan 21/09:  Booked with homeowner for Greg to repair drywall Jan 22, 23 where Don cut wall open to foam tub.

Mar. 3/09: Owner reported master bath water pressure is low. Tap was changes previously but it still has very low pressure. Owner also wanted to know if there should be a outside water tap at the back of the house.  Teresa explained to Franz that she would have to get mechanical plans to verify where the taps should go.

March 16, 2009:  W/O 2675 faxed to Canbarr to install a hose bib at back of house and to check water pressure in main bath.

April 20, 2009: W/O 2636 faxed to Canbarr to inspect water pressure in main bath. He also mentioned that caulking is need at brick and mortar at garage door. Duey is going to take care of it

April 24, 2009:  Art from Canbarr called to inform us the there is a problem with the pressure and that the wall would have to be cut to access the pipes. Teresa told him to go ahead and schedule with the owner and to let us know when he is finished so service can go and do wall repairs.

April 28, 2009:  Art from Canbarr called to inform that he replaced lines, valves and faucet, service has to go in now and repair wall (12” x 12” hole). Scheduled for May 7/09. Completed