Lot 90

1932 Swan Street

Parakeet

Close Date:  Apr 18/08

Magdy Salib

Min Shang

HM 416-696-0510

WK 905-952-1136

Cell 647-237-3300

* BONE WHITE PAINT

Apr 21/08:  I called Jan/Tile Trends re: installation of towel rack etc as per Bruno’s email.

May6/08:  homeowner called re: no work done from PDI.  I setup for us to go in on May20/08 to tackle work from his PDI.

May 13/08:  Work Order # 1978 Dominion to install capping at kitchen window (leaking at top right corner)

May 14th/08: CanBarr is taking a look at pipe that is leaking under kitchen sink and under laundry tub and checking loose tap in kitchen / running water line to fridge

May26/08:  booked for us to go in May 28,29/08 to do stuff from PDI/still didn’t get in we had to cancel last time

May 29/08:  w/o 2008 to Tile Trends to install towel bars and toilet paper holders here.

June 2/08:  Work Order # 1949 to AYA Kitchens to replace upper box above bank of drawers and left hinge door (original damage) *missing rubber stops on doors   Need to book a few more days for Peter to go back

June 6/08:  Peter was here, booked 3 more days to finish work here, June 16,17,18 /08

June 17, 2008:  Work Order # 2205 to JP Decorating complete exterior painting and re-cut living room and diningroom walls at ceiling/ wall perimeter – there is a dark band that is showing up at ‘cut-in

June 25, 2008:  Work Order # 2216 Tile Trends to install bathroom fixtures in 3 bathrooms

June 30, 2008:  Booked July 2/3/08

July 2, 2008:  Kim called Jan at Tile Trends re:  bathroom ceramics still not installed

w/o 2223 to Bayfield to do some carpet repairs at seams in stairwell etc., w/o 2224 to Canbarr to move water meter line, w/o 2225 to Binnie Brothers to reset front steps (wobbly) and backfill sidewalk  -- Greg is here doing repairs.

July 4/08:  Malcolm gave homeowner some paint (she touched up some areas with semi-gloss when it should have been flat

July 7/08:  PO 29252 to Bayfield to install ceramic fixtures in all bathrooms.

July 8/08:  Bayfield send back PO29252 for ceramic fixtures and indicated that Tile Trends have already installed them here.  Malcolm did list here.

July11/08:  PO 27801 to Barrie Trim to supply 28” L hand interior door